## All Information
All information from ChirpStack: | 2021-09-02
ApplicationName: Buc-Cascadelor
ServiceProfile: McD Profile
DevName | DevEUI | AppKEY | AppEUI | DeviceID | DeviceProfile
apa_bmeters_LR3 | e41e0a9000001332 | 8f 08 7d 02 4a 25 97 43 4d e1 1b 02 b7 f1 76 3e | E41E0A90000FFFFF | 00 42 17 90 | BMeters LR3
ftd_adeunis | 0018b2000002318d | 04 3b 8b 1e b7 5f 4a 2a b5 ff 96 83 18 b8 25 39 | 0018B24441524632 | 01 a5 77 07 | Adeunis FTD
modbus_dragino | a84041000181ca73 | 6f d5 36 71 f1 18 32 1e 9c ee 1b 84 4e c8 78 c1 | A000000000000101 | 01 4f be 64 | Dragino Modbus
temp_bucatarie_adeunis_comfort2 | 0018b21000003bf0 | 13 d0 33 ca 21 6e 47 7b ae e3 19 0c bd 5d 1d 86 | 0018B25342544831 | 00 d0 bb d5 | Adeunis Comfort2
temp_exterior_adeunis_temp | 0018b210000038ed | 76 8a 3d 34 6a c2 4f 13 8e 41 5c b4 4d 08 0e 3b | 0018B254454D5031 | 01 f1 6b 54 | Adeunis TEMP
temp_lobby_adeunis_comfort2 | 0018b21000003a0f | 5f 14 43 71 09 d7 4b 80 a8 c4 1f a7 d9 2f 9b 09 | 0018B25342544831 | 00 56 06 99 | Adeunis Comfort2
gaz_adeunis_pulse | 0018b24000009df6 | ef 01 18 90 6c 11 48 6d aa a7 14 da 59 5b 7a d3 | 0018B250554C5332 | 01 e4 18 4d | Adeunis Pulse
GatewayNmae |  |  |  | GatewayID | GatewayProfile
mcd-buc-cascadelor |  |  |  | 3133303756002800 | MikroTik RBwAPR-2nD&R11e-LoRa8
All Information from existing devices:
DevName | Model | Company Name | LoRaWAN version | DevEUI | Settings | AppEUI/JoinEUI | App Key
People Counter | IB0 10-100.00 | IMBUILDINGS | v1.0.1 | 0004a30b00f0621e | OTAA,ADR,Unconfirmed | dee397451a47761c | 9c4fe5011fc5457da724ea0ac516e0f1
Modbus To Lorawan Converter(Dragino) | RS485-LN | DRAGINO M2L |  | A84041000181CA73 |  | A000000000000101 | 6FD53671F118321E9CEE1B844EC878C1
BMeters IWM-LR3 | LR3 | B-METERS |  | e41e0a9000001332 |  | E41E0A90000FFFFF | 8f 08 7d 02 4a 25 97 43 4d e1 1b 02 b7 f1 76 3e
Water Meter LR-1 | RFM-LR1 Manual ForGSD8-RFM water Meter | B-METERS |  | 70B3D5D720041BD5 |  | 70B3D5D72FF81301 | B61744F3D320BE75A1F9DE1D9A86474C
Temperature and Humidity(Dragino) | LHT65_Temperature_Humidity | Dragino_LHT_SENSOR |  | A84041000181DC48 |  | A000000000000100 | D84287C9E2A4A78BFBA5F51C48E643F1
Dragino_LHT_Mydevices(Dragino) |  | Dragino_LHT_SENSOR |  | a84041000181d7d1 |  | a0 00 00 00 00 00 01 00 | 79 52 86 bd ff cb d2 cf e1 a4 62 f7 97 f7 25 2d
Temperature and Humidity(Ursalink) |  | Milesight |  | 24E16410A0639948 |  | 24E124C0002A0001 | 5572404C696E6B4C6F52613230313823
Advantech(Vibration Sensor) | WISE-2410-EA | Advantech |  | 74FE48FFFF504B7A |  | 0000000032343130 | 8CA1194877B4A3A371E47E85D5C94B5A
Advantech(Vibration Sensor) | WISE-2410-EA | Advantech |  | 74FE48FFFF504BA2
Advantech(Gateway) | WISE-6610-E100C-A | Advantech
LoRaWAN Sensor Node | Ursalink-UC11-N1 | Milesight |  | 24E16411A1774200 |  |  | 55 72 40 4c 69 6e 6b 4c 6f 52 61 32 30 31 38 23
LoRaWAN Sensor Node | Ursalink-UC11-N1 | Milesight | v1.0.1 | 24E16411A1799222 |  | 24E124C0002A0001 | 5572404c6 96e6b4c6f 526132303 13823
Adeunis TEMP V4 IP68 LoRaWAN(TM) EU863-870 |  | Adeunis |  | 0018B210000038ED |  | 0018B254454D5031 | 768A3D346AC24F138E415CB44D080E3B
Adeunis COMFORT V2 for LoRaWAN(TM) EU863-870 |  | Adeunis |  | 0018B21000003A0F |  | 0018B25342544831 | 5F14437109D74B80A8C41FA7D92F9B09
Adeunis COMFORT V2 for LoRaWAN(TM) EU863-870 |  | Adeunis |  | 0018B21000003BF0 |  | 0018B25342544831 | 13D033CA216E477BAEE3190CBD5D1D86
Adeunis FIELD TEST DEVICE for LoRaWAN(TM) EU863-87 |  | Adeunis |  | 0018B2000002318D |  | 0018B24441524632 | 043B8B1EB75F4A2AB5FF968318B82539
Adeunis PULSE IP68 V4 for LoRaWAN(TM) EU863-870 Re |  | Adeunis |  | 0018B24000009DF6 |  | 0018B250554C5332 | EF0118906C11486DAAA714DA595B7AD3
MikroTik RBwAPR-2nD(Gateway) | R11e-LoRa8 | MikroTik |  | 3135323514005600
MikroTik RBwAPR-2nD(Gateway) | R11e-LoRa8 | MikroTik |  | 3133303756002800
Modbus LoraWan EU863-870(Adeunis) |  | Adeunis |  | 0018B24000008C39 |  | 0018B25345524931 | 768D3AB64478416A9A8252A7AB7661A8
therm-a-office-adeunis-comfort2 |  | Adeunis |  | 0018B21000007892 |  | 0018B25342544831 | D05E2BC86458430ABA7D76DFEC38189F
ext-therm-fridge-adeunis-temp |  | Adeunis |  | 0018B210000097A2 |  | 0018B254454D5031 | F9325A0352E84FA7880D4ACAC2B437C6
modbus-b-adeunis |  | Adeunis |  | 0018B24000008C39 |  | 0018B25345524931 | 768D3AB64478416A9A8252A7AB7661A8
therm-b-office-adeunis-comfort2 |  | Adeunis |  | 0018B21000007700 |  | 0018B25342544831 | F0CF639E7B2249E699F8BEB7104B3421
contact-b-adeunis-drycontact |  | Adeunis |  | 0018B2100000791D |  | 0018B24452494331 | CEFE8E2081494D79A7C8541908DBB64D
contact-a-adeunis-drycontact |  | Adeunis |  | 0018B2100000791E |  | 0018B24452494331 | D07DCDDAA3394D1CA06F49C2560862BE

## Buc-Cascadelor
All information from ChirpStack: | 2021-09-02
ApplicationName: Buc-Cascadelor
ServiceProfile: McD Profile
DevName | DevEUI | AppKEY | AppEUI | DeviceID | DeviceProfile
apa_bmeters_LR3 | e41e0a9000001332 | 8f 08 7d 02 4a 25 97 43 4d e1 1b 02 b7 f1 76 3e | E41E0A90000FFFFF | 00 42 17 90 | BMeters LR3
ftd_adeunis | 0018b2000002318d | 04 3b 8b 1e b7 5f 4a 2a b5 ff 96 83 18 b8 25 39 | 0018B24441524632 | 01 a5 77 07 | Adeunis FTD
modbus_dragino | a84041000181ca73 | 6f d5 36 71 f1 18 32 1e 9c ee 1b 84 4e c8 78 c1 | A000000000000101 | 01 4f be 64 | Dragino Modbus
temp_bucatarie_adeunis_comfort2 | 0018b21000003bf0 | 13 d0 33 ca 21 6e 47 7b ae e3 19 0c bd 5d 1d 86 | 0018B25342544831 | 00 d0 bb d5 | Adeunis Comfort2
temp_exterior_adeunis_temp | 0018b210000038ed | 76 8a 3d 34 6a c2 4f 13 8e 41 5c b4 4d 08 0e 3b | 0018B254454D5031 | 01 f1 6b 54 | Adeunis TEMP
temp_lobby_adeunis_comfort2 | 0018b21000003a0f | 5f 14 43 71 09 d7 4b 80 a8 c4 1f a7 d9 2f 9b 09 | 0018B25342544831 | 00 56 06 99 | Adeunis Comfort2
gaz_adeunis_pulse | 0018b24000009df6 | ef 01 18 90 6c 11 48 6d aa a7 14 da 59 5b 7a d3 | 0018B250554C5332 | 01 e4 18 4d | Adeunis Pulse
GatewayNmae |  |  |  | GatewayID | GatewayProfile
mcd-buc-cascadelor |  |  |  | 3133303756002800 | MikroTik RBwAPR-2nD&R11e-LoRa8

## Textile-Medicale
All information from TTI: | 2022-07-15
ApplicationName: Textile Medicale
ServiceProfile: Textile Medicale
DevName | DevEUI | AppKEY | AppEUI | DeviceID | DeviceProfile
therm-a-office-adeunis-comfort2 | 0018B21000007892 | D05E2BC86458430ABA7D76DFEC38189F | 0018B25342544831
ext-therm-fridge-adeunis-temp | 0018B210000097A2 | F9325A0352E84FA7880D4ACAC2B437C6 | 0018B254454D5031
modbus-b-adeunis | 0018B24000008C39 | 768D3AB64478416A9A8252A7AB7661A8 | 0018B25345524931
therm-b-office-adeunis-comfort2 | 0018B21000007700 | F0CF639E7B2249E699F8BEB7104B3421 | 0018B25342544831
contact-b-adeunis-drycontact | 0018B2100000791D | CEFE8E2081494D79A7C8541908DBB64D | 0018B24452494331
contact-a-adeunis-drycontact | 0018B2100000791E | D07DCDDAA3394D1CA06F49C2560862BE | 0018B24452494331
modbus-a-adeunis | 0018B24000009505 | 5CB95F1F0C454F7EA4532CAAADD1CA10 | 0018B25345524931
GatewayNmae | GatewayEUI |  |  | GatewayID | GatewayProfile
textile-medicale-1 | 3530362036005A00 |  |  | textile-medicale-1
polisea-office | 3135323514005600 |  |  | polisea-office
All Information from existing devices:
DevName | Model | Company Name | LoRaWAN version | DevEUI | Settings | AppEUI/JoinEUI | App Key
Adeunis PULSE IP68 V4 for LoRaWAN(TM) EU863-870 Re |  | Adeunis |  | 0018B24000009DF6 |  | 0018B250554C5332 | EF0118906C11486DAAA714DA595B7AD3
MikroTik RBwAPR-2nD(Gateway) | R11e-LoRa8 | MikroTik |  | 3135323514005600
MikroTik RBwAPR-2nD(Gateway) | R11e-LoRa8 | MikroTik |  | 3133303756002800
Textile Medicale:
therm-a-office-adeunis-comfort2 |  | Adeunis |  | 0018B21000007892 |  | 0018B25342544831 | D05E2BC86458430ABA7D76DFEC38189F
ext-therm-fridge-adeunis-temp |  | Adeunis |  | 0018B210000097A2 |  | 0018B254454D5031 | F9325A0352E84FA7880D4ACAC2B437C6
modbus-a-adeunis |  | Adeunis |  | 0018B24000009505 |  | 0018B25345524931 | 5CB95F1F0C454F7EA4532CAAADD1CA10
modbus-b-adeunis |  | Adeunis |  | 0018B24000008C39 |  | 0018B25345524931 | 768D3AB64478416A9A8252A7AB7661A8
therm-b-office-adeunis-comfort2 |  | Adeunis |  | 0018B21000007700 |  | 0018B25342544831 | F0CF639E7B2249E699F8BEB7104B3421
contact-b-adeunis-drycontact |  | Adeunis |  | 0018B2100000791D |  | 0018B24452494331 | CEFE8E2081494D79A7C8541908DBB64D
contact-a-adeunis-drycontact |  | Adeunis |  | 0018B2100000791E |  | 0018B24452494331 | D07DCDDAA3394D1CA06F49C2560862BE